## Product Catalogue
SKU | Brand Principal | Category | Description | List Price (RM) | UOM | Stock On Hand | Lead Time (days) | Country of Origin | Last Updated
ABB-ACS580-110 | ABB | VFD | ACS580 General Purpose Drive, 110 kW, 400V, IP21 | 48500 | EA | 4 | 84 | Finland | 2026-05-18
ABB-ACS580-160 | ABB | VFD | ACS580 General Purpose Drive, 160 kW, 400V, IP21 | 62200 | EA | 2 | 84 | Finland | 2026-05-18
ABB-XT3N-250 | ABB | MCCB | Tmax XT3 Moulded Case Circuit Breaker, 250 A, 36 kA | 1180 | EA | 38 | 42 | Italy | 2026-05-18
ABB-UNIGEAR-12 | ABB | MV Switchgear | UniGear ZS1 12 kV Air-Insulated Switchgear panel | 165000 | EA | 1 | 120 | Italy | 2026-05-18
SE-ATV630-110 | Schneider | VFD | Altivar Process ATV630 Drive, 110 kW, 400V, IP21 | 46900 | EA | 6 | 35 | France | 2026-05-18
SE-NSX-250 | Schneider | MCCB | Compact NSX Circuit Breaker, 250 A, 36 kA | 1090 | EA | 54 | 28 | France | 2026-05-18
SE-OKKEN-25 | Schneider | LV Switchboard | Okken Type-Tested LV Switchboard 4000A, withdrawable | 220000 | EA | 0 | 140 | France | 2026-05-18
SIE-G120X-110 | Siemens | VFD | Sinamics G120X Drive, 110 kW, 400V, IP20 | 47800 | EA | 3 | 70 | Germany | 2026-05-18
SIE-3VA2-250 | Siemens | MCCB | Sentron 3VA2 Moulded Case Circuit Breaker, 250 A, 55 kA | 1240 | EA | 22 | 49 | Germany | 2026-05-18
SIE-8DJH-12 | Siemens | MV Switchgear | Sealed 8DJH 12 kV Gas-Insulated Switchgear, ring main | 158000 | EA | 2 | 110 | Germany | 2026-05-18
LEG-DPX3-250 | Legrand | MCCB | DPX3 250 A Moulded Case Circuit Breaker, 36 kA | 980 | EA | 71 | 35 | France | 2026-05-18
LEG-XL3-S-4000 | Legrand | LV Switchboard | XL3 S 4000 LV Switchboard, 4000A form 4b | 198000 | EA | 1 | 126 | France | 2026-05-18
EAT-9395P-300 | Eaton | UPS | 9395P 300 kVA UPS, datacentre grade, 480V | 420000 | EA | 2 | 98 | USA | 2026-05-18
EAT-PXG-MV | Eaton | MV Switchgear | Power Xpert PXG MV Switchgear, 24 kV, vacuum | 182000 | EA | 1 | 130 | USA | 2026-05-18
PHC-QUINT4-40 | Phoenix | Power Supply | QUINT4 PSU 40A 24VDC, redundant | 2850 | EA | 64 | 28 | Germany | 2026-05-18
MER-NH3-630 | Mersen | HRC Fuse | NH3 gG 630 A HRC Fuse-Link, 690V | 420 | EA | 92 | 21 | France | 2026-05-18
ABB-FORMULA-100 | ABB | MCCB | Formula A1 Compact MCCB, 100 A, 10 kA | 640 | EA | 128 | 35 | China | 2026-05-18
SE-IC60N-32 | Schneider | MCB | Acti9 iC60N 32 A MCB, 6 kA | 78 | EA | 420 | 21 | Indonesia | 2026-05-18
SIE-3RV2-25 | Siemens | Motor Starter | Sirius 3RV2 Motor Protector, 22-32 A | 320 | EA | 96 | 35 | Germany | 2026-05-18
EAT-ELC-PLC | Eaton | PLC | ELC-PV Programmable Logic Controller, 14 I/O | 1180 | EA | 18 | 42 | Taiwan | 2026-05-18